## Bill 5 - Infra
RUMAH SUPERLINK KOTA PUTERI
ITEM | DESCRIPTION | From Page | AMOUNT (RM)
SUMMARY OF INFRA WORKS
1 | SITE CLEARANCE AND EARTHWORKS | B2.5 / SCE / 2
2 | ROAD WORKS | B2.5 / RW / 3
3 | DRAINAGE WORKS | B2.5 / DW / 6
4 | SEWERAGE WORKS | B2.5 / SW / 1
5 | WATER RETICULATION WORKS | B2.5 / WR / 5
TOTAL CARRIED TO SUMMARY OF TENDER:

## SC & EW
RUMAH SUPERLINK KOTA PUTERI
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT (RM)
SITE CLEARANCE AND EARTHWORKS (ALL PROVISIONAL)
Site Clearance
Notes:
The site preparation is completed by Contractor and the tenderer is to accept the site 'as found' on the date for possession
A | Clear site of all refuse, debris, undergrowth, shrubs, bushes, lalang, creepers, belukar, vegetation, etc. including cutting down all trees (irrespective of height and girth), grubbing up roots and filling holes with approved earth, strip top soil and clear away from site to Contractor's own dumping site | Item | - | -
Earthwork
Notes:
The Contractor shall required to submit the soil sample and identify the location of the source for the S.O. approval prior to use on site
The rate for earthworks shall include any such fees or charges in connection with the works i.e deposit to Local Authorities and royalty to Pejabat Tanah
B | Excavate in bulk to platform/formation level through all classes of materials in 'Cut Area' and transport, deposit and spread to 'Fill Area' approved soil to make up levels including grading and compacting with 6 to 8 passes by 8 tonne roller in layer to levels, dimension and elevation and trimming as described and shown in drawing | m3 | 318
C | Imported fill from Contractor's own source with suitable materials to make-up levels including grading and compacting with 6 to 8 passes by 8 tonne roller in layer of mm to levels, dimension and elevation and trimming as described and shown in drawing | m3 | 1850
(The source of fill materials proposed by the Contractor is approximately………………………..km from Contract Area)
Wash Trough
D | Supply everything necessary for construction of wash trough as shown in the Drawing. | No | 1
Price shall include excavation, concrete, steel, reinforcement, formwork, grating, outlet pipe, disposal of surplus material etc. and periodic maintenance and removal on completion of works
CARRIED TO COLLECTION
SITE CLEARANCE AND EARTHWORKS (ALL PROVISIONAL) (CONT'D)
Any Other Items:
A | The contractor is to list down below and allow a sum/sums for any other items which are not included in any of the above but in his opinion is necessary for the proper execution of the works and/or not shown in the Drawing/Specification.
1)………………………………………………………………………….
2)………………………………………………………………………….
3)………………………………………………………………………….
4)………………………………………………………………………….
CARRIED TO COLLECTION
Collection :
From Page B2.5 / SCE / 1
From Page B2.5 / SCE / 2
TOTAL CARRIED TO SUMMARY OF INFRA WORKS

## ROADWORKS
RUMAH SUPERLINK KOTA PUTERI
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT (RM)
ROAD WORKS (ALL PROVISIONAL)
All surplus excavated materials shall be removed to areas of filling within the site and leveled as directed by the S.O/Architect
PREMIX
A | Excavate to reduce level average 600mm deep, get out and deposit excavated material in temporary spoil heap within road shoulder. | m3 | 2051
B | 50mm Thick sand subbase as described blinding spread and levelled to cambers, gradients and crossfalls to receive crusher run | m2 | 3729
C | 450mm Thick (consolidated thickness) of crusher run spread and levelled in two layers to cambers and gradients and compact all in accordance with the specifications and to the satisfaction of the S.O. and blinded on top with quarry dust and finished to receive prime coat | m2 | 3729
D | Apply bituminous prime coat spread evenly over surfaces of crusher run base course including blinding to receive aspahltic concrete base course | m2 | 3729
E | 60mm Thick (finished) layer of asphaltic concrete binder course including prime coat of dense bituminous graded hot-mixed asphaltic concrete base course, spread, levelled and rolled to falls and camber | m2 | 3729
F | 50mm Thick (finished) layer of asphaltic concrete wearing course including bituminous tack coat, spread and levelled to fall and cambers, well rammed and consolidated | m2 | 3729
G | Allow for labour and material for cutting and bonding new premix road to existing road including making good all work disturbed and cart away debris from site | Item | - | -
ROAD KERB
Supply, deliver and lay in position the following kerbs (semi mountable kerb - Type 3). Rate to be include excavation, painting, 10mm construction joints with fillers, concrete, base, P.C slab concrete haunching, butt joints, backfilling, compacting of excavated earth and m.s grating/concrete cover to suit with Majlis's approval and all according to Engineer's drawing
H | Kerb without opening | m | 645
J | Kerb with opening (precast drain pit) | m | 54
CARRIED TO COLLECTION
ROAD WORKS (ALL PROVISIONAL) (CONT'D)
SCUPPER DRAIN
A | 230mm Diameter Vitrified Clay Pipe (VCP) and fittings to B.S. 65 (Extra strength) with spigot and sockets incorporation rubber sealing rings to B.S. 2494 laid to manufacturer's instructions as described outlet drain including filling to void top of pipe with cement mortar and all necessary excavation all as per Engineer's Drawing | m | 132
B | Labour and materials connecting scupper drain outlet drain pipe to roadside drain including making good work disturbed to existing drainage on completion | Item | 0 | 0
ROAD MARKING
Supply, deliver, setting out and provide the following carriageway marking with 3mm thick reflectorised themoplastic acrylic weather coat road paint on premix road as shown in the drawing and specification:
C | 150mm edge line | m | 645
D | 100mm center line | m | 305
E | Go -straight arrow marking | No | 13
F | Turning arrow marking | No | 1
SPEED BUMP
H | 2100mm Width x 100mm Thick curved-on-section asphaltic concrete road hump complete with painting all as per Engineer's drawing | No | 2
J | 4000mm length x 600mm Width x 6mm thick yellow bar speed breaker | No | 20
ROAD SIGNAGE
K | "SPEED BUMP" signage in octagon shaped sign plate moulded including 75mm diameter x 3.2mm thick galvanised iron pipe post 2350mm (min.) long complete with necessary foundation, painting, lettering, and fixing brackets, etc. all as per Engineer's drawing | No | 4
ROAD ADDRESS
L | Supply, deliver and erect the following sign boards make of retroflective sticker high intensity type in accordance to Majlis's standard as shown in the drawing. This rate should include post, concrete foundation, excavation, backfilling, painting work for the post, fixing work and other necessary work to complete the work | No | 2
CARRIED TO COLLECTION
ROAD WORKS (ALL PROVISIONAL) (CONT'D)
INTERLOCKING ROAD
A | Supply and lay approved decorative interlocking paver road in approved colour and pattern bedded on and including 75mm thick selected sub-base with soaked, 375mm thick compacted road base cusher run and well compacted and including mass concrete as described edge restrained or concrete base including all necessary excavation, formwork and all other related works | m2 | 158
WALKWAY
B | Supply and lay approved reinforced concrete walkway with broom finish in approved colour and pattern bedded on and including lean concrete and well compacted crusher run and including mass concrete as described edge restrained or concrete base including all necessary excavation, formwork, reinforcement and all other related works | m2 | 571
ROAD SHOULDER
C | Backfill and compact excavated material to form shoulders on both side of the carriageway to receive top soil and turfing for depth not exceeding 350mm | m2 | 730
CARRIED TO COLLECTION
Collection :
From Page B2.5 / RW / 1
From Page B2.5 / RW / 2
From Page B2.5 / RW / 3
TOTAL CARRIED TO SUMMARY OF INFRA WORKS

## DRAINAGE
RUMAH SUPERLINK KOTA PUTERI
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT (RM)
DRAINAGE WORKS (ALL PROVISIONAL)
Note : All rates include all testing in accordance to specifications or per authorities's requirement, and to the satisfaction of the Engineer together with liaison, obtaining clearance for Certificate of Completion Certificate (CCC) application and handing over to local aothorities on behalf of the Employer. application and handing over to local aothorities on behalf of the Employer.
ROADSIDE DRAIN
Half Round Glazed Ware (HRGW)
A | Surface water drain constructed of 300mm Half Round Glazed Ware (HRGW) to falls and jointed in cement and sand (1:3) mortar including cascade drain if necessary; 50mm thick lean concrete, 150mm thick reinforced concrete base and packed surrounding drain; reinforced concrete wall on both sides built up from drain surface to finished road level and finished with 20mm thick cement and sand (1:3) rendering to all exposed surfaces; with reinforced concrete strut, built-in with earthen ware weepholes with approved graded filter materials wrapped in wire mesh; including forming opening along roadside and all bends, junctions, ends, outlets, cascading etc. to match channels and all excavation, well compacted earth layer, formwork and remove of surplus excavated materials away from site to contractor's own dump, to Engineer's detail drawing | m | 515
B | Surface water drain constructed of 300mm Half Round Glazed Ware (HRGW) scupper drain to falls and jointed in cement and sand (1:3) mortar; ditto | m | 169
C | Precast compressed concrete slab as described over size 710mm x 710mm x 50mm thick complete with cast iron frame and placed in position including reinforcement, angle bar, hinge to hook to frame, jointing and bolts and nuts all as per Engineer's detail drawing | No | 34
D | Vibrated reinforced concrete slab over drain as described size 1000mm width x 125mm thick approved pattern to Engineer's approval fabric reinforcement, 40mm thick levelling concrete screed and broom finish including all necessary works and all as per Engineer's drawing | m | 199
Precast Concrete Pipe Culvert
E | Supply, construct and complete 600mm Diameter Precast Reinforced Concrete Pipe Culvert inclusive of concrete base with reinforcement, lean concrete, concrete surround, formwork, rubber ring joint, handling, jointing, bedding, grating for maintenance opening and etc. all as shown in Engineer's Drawing and all necessary excavation and part return, fill in and ram and cart away surplus material and deposit, spread and level within site as directed and surplus to Contractor's own dump area | m | 7
CARRIED TO COLLECTION
DRAINAGE WORKS (ALL PROVISIONAL) (CONT'D)
SUMP
Supply, deliver all material and construct concrete sumps including excavation, lean concrete, concrete base with reinforcement, concrete wall with cement mortar rendering internally, reinforced concrete headwall and slab, precast compressed concrete slab with reinforcement or heavy duty mild steel grating, galvanised malleable C.I. step, hauntching, opening for second emergency outlet and primary out, galvanised malleable cast iron step, backfilling and disposal of surplus material
A | 1050mm x 1050mm Sump average depth not exceeding 2.0m | No | 6
DRAIN CONNECTION
B | Allow for connection to existing drainage / sump | Item | - | -
UPON COMPLETION
C | Allow for labour and material for repairing and erecting to existing drainage due to construction new drainage and sewerage including making good all work disturbed and cart away debris from site | Item | - | -
D | Allow for labour and material for desilting of existing drainage to ensure those items are free of all silt, debris, rubbish etc. at the direction of S.O. Rate should include disposal of silt to contractor's own dumping ground | Item | - | -
DEMOLITION WORKS
Scope of Works
The area/building to be demolished, maintained and renovated is as shown in the drawings.
Visit to site
All tenderers are deemed to have visited the site to ascertain the nature, character and extent of the works included under this section and any other conditions that may affect his prices. No reimbursement in respect of claims arising out of Contractor's failure to comply with this clause will be entertained.
This section shall be deemed to be priced on site. Any appointment to visit the site shall be made by prior arrangements with the S.O. who will arrange that key sand facilities for entry will be available.
CARRIED TO COLLECTION
DRAINAGE WORKS (ALL PROVISIONAL) (CONT'D)
DEMOLITION WORKS (CONT'D)
Old material and credit
All old materials arising from the demolition, pulling down or taking down except where otherwise described are to become property of the Contractor and together with all rubbish and debris are to be removed from the site.
Old brickwork, concrete, stone etc., maybe used as hardcore if approve by the S.O. and broken to suitable size.
The Contractor shall allow in the column provided the FULL credit which he is prepared to allow for items to be cleared away and shall not set the credit against the cost of carrying out the work described.
The Employer reserves the right to retain ownership of any of the materials arising from the demolition and the Contractor will be reimbursed at the Credit Value he has allowed for these materials.
Fees and charges
The tenderers are to allow for obtaining all consents, paying all fees, charges and licenses legally demandable, adopting and complying with the requirements of the local and other authorities in respects of the work, during the carrying out of the work and on completion or when no longer required, for taking down and clearing away and making good all work disturbed.
Protection of existing structure
The Contractor shall provide all requisite shoring needling and propping or other supports to existing walls, floors and roofs together with weatherproof tarpaulins that may be necessary for the protection and safety of those portion of existing structure to be retained. Alter, adapt and maintain all such temporary works as may from time to time and finally clear away when no longer required.
Prices for the formation of openings through existing walls, floors etc. and all cutting away similar nature are to include for all necessary temporary shoring, needling, propping or scaffolding required and in addition for making good all works of a structural nature thereby disturbed.
Dimension and description
All dimensions in respects of demolition, pulling down etc., are approximate and are in tended together with indications of material sand forms of construction, as a general guide to the nature of the work invloved. The Contractor is responsible for inspecting the works and obtaining his own information and forming his own opinions in this respect.
CARRIED TO COLLECTION
DRAINAGE WORKS (ALL PROVISIONAL) (CONT'D)
DEMOLITION WORKS (CONT'D)
Remedial works and precautionary measures
Any works of eradicting defective and decayed parts of this existing building shall be carried out by the Contractor in accordance with recommendation submitted by specialist and approved by the S.O.
The Contractor must allow in his prices, for taking all necessary care and precaution to obviate the danger of the effect of fungoid attack through carelessness of workmen, and for following closely precautionary measures advocated by the specialist.
The prices for hacking off old wall plaster, wall tiling and tiling and cornices shall include for thoroughly searching the exposed face of the structure to remove all traces of fungoid growth, spraying the efected areas with an approved fungicidal solution in accordance with the manufacturer's instruction to penetrate deep into the interstices and joints of the brickwork, to ensure the destruction of latent termites concealed behind skirtings and under floor boards and parquet flooring.
Blocking up openings
The price for "block up openings" shall include for hack off plaster and skirting to reveals, take outfloor finish, level and build up in common claybricks in mortar 1:6 including cut pin to soffit and bond ends to existing with galvanised mild steel wall tiles cut and pin one end.
Services
The prices for demoilition are to include for sealing off, taking down and stripping out all electrical, sanitary, water and other services including pipes, wiring and fittings.
Burning of debris
No burning of debris on site is permitted.
Carting away debris
All rubbish, debris and rubble arising from demolition shall be removed from site by the contractor at his own expenses to Contractor's own dumping ground
CARRIED TO COLLECTION
DRAINAGE WORKS (ALL PROVISIONAL) (CONT'D)
DEMOLITION WORKS (CONT'D)
Making good of Works disturbed or damaged
All making good of work disturbed or damaged is to be executed with materials, good and workmenship to match surrounding work in every respects and is to be properly bonded thereto. The works include all necessary hacking to formbond, to remove loose particles or portion of works and all necessary new works to reinstate such works disturbed or junctions to their original shape.
Prices for work in demoilition, taking down, stripping off, etc. shall be deemed to include for:
1. All preparatory works, preparation and support.
2. Any necessary watering to lay dust, tarpaulins and dust sheets for protection of persons and property.
3. All making good of work disturbed or damaged and removing debris from site,
The whole of the Works is to be carried out in accordance with the notes contained on the Drawings and/or described in the individual items in the foregoing Section.
A | Carefully demolish existing temporary sump including all necessary work and make good all work disturb (Approximate: 2 Nos) | Item | - | -
B | Carefully demolish existing 600mm Diameter RCP including all necessary work and make good all work disturb (Approximate: 21m) | Item | - | -
C | Carefully demolish existing temporary earth drain (constructed by previous contractor) including all necessary work and make good all work disturb (Approximate: 18m) | Item | - | -
CARRIED TO COLLECTION
Collection :
From Page B2.5 / DW / 1
From Page B2.5 / DW / 2
From Page B2.5 / DW / 3
From Page B2.5 / DW / 4
From Page B2.5 / DW / 5
TOTAL CARRIED TO SUMMARY OF INFRA WORKS

## SEWERAGE
RUMAH SUPERLINK KOTA PUTERI
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT (RM)
SEWERAGE WORKS (ALL PROVISIONAL)
Sewer pipework for external sewer main shall include the supply of all necessary materials, labour, laying, excavation of all material encountered excluding rock, provision of shoring, steel sheet piling & dewatering where necessary, bedding, fittings, jointing, connection to manholes, backfilling, compaction, removal and disposal of all excess material, and all other work necessary for a complete installation to give a finished result in accordance with the Drawings and Specification.
Rate should also includes cleaning and testing in accordance to specifications and to the satisfaction of the JPP/IWK
Only 90% of the amount entered below will be paid on completion of pipe laying works. Remaining 10% of the payment will be made upon completion of cleaning and testing as specified above.
Average depth will be calculated from average ground surface to average sewer invert for each sewer length between adjacent manholes.
Length will be measured horizontally from centre to centre of manholes. Average depth will be calculated from ground surface to sewer invert.
VCP - Vitrified Clay Pipe
E. - Exceeding
N.E. - Not Exceeding
Sewerage pipes in 150mm diameter vitrified clay pipes all in accordance with specifications and drawings
CONNECTION FROM BUILDING MANHOLE TO MAIN
LINE
A | 150mm diameter Vitrified Clay Pipe (VCP) and fittings to B.S. 65 (extra strength) with spigot and socket joints with and including rubber sealing ring to B.S. 2494 laid and jointed in trench complete with bends, fitting, Y/T connection, concrete base slab, support and encasement including all necessary excavation, wye/tee junction, back filling and removal of surplus spoil from site all as per Engineer's drawing | No | 23
TESTING
B | Allow for CCTV Inspection Survey to main sewerage pipeline all in accordance with the specialist's specification and at the location as specified including mobilisation, tools equipments, factual reports etc. and all to the approval of the S.O. | Item | - | -
C | Test and commission the whole sewerage reticulation systems as described and make good all defects, retest and leave whole in perfect working order to the satisfaction of the Architect and the Authorities | Item | - | -
TOTAL CARRIED TO SUMMARY OF INFRA WORKS

## WATER RET
RUMAH SUPERLINK KOTA PUTERI
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT (RM)
WATER RETICULATION WORKS (ALL PROVISIONAL)
Note : All rates include all testing in accordance to specifications or per authorities's requirement, and to the satisfaction of the Engineer together with liaison, obtaining clearance for Certificate of Completion Certificate (CCC) application and handing over to local aothorities on behalf of the Employer. (with Employer's consent)
Contractor shall always comply to the JABATAN BEKALAN AIR standard drawing and latest details & requirements at all time for completion of works and handing over to JABATAN BEKALAN AIR
A | Allow for all testing in accordance to specification or per authorities requirement and to the satisfaction of Engineer together with liaison, obtaining for Certificate of Completion and Compliance (CCC) application and handling over to local authority including installation of water meter and the final provision of water supply from local authorities | Item | - | -
B | To remove existing end cap including excavation and making good works all works disturbed or damaged and removing debris from site and allow all preparatory works, preparation and support | Item | - | -
Excavate pipe trench through all classes of material (except rocks) including sand and ordinary earth, backfilling, tamping, ramming, disposal of surplus excavated material and levelling after laying and testing of pipeline
C | 150mm dia. D.I. pipe | m | 294
PIPEWORK
Note :
The rate of pipeworks should include the supply of necessary equipment and carry out hydraulic testing of the water main to the satisfaction of JABATAN BEKALAN AIR including scouring and disinfection of water mains. All sizes of pipes indicated are nominal diameter.
Supply, lay and joint including jointing material, Ductile Iron (D.I) pipe to PN 12.5 and fittings as described (including jointing to valves and hydrant) in trench
D | 150mm dia. pipe | m | 294
CARRIED TO COLLECTION
WATER RETICULATION WORKS (ALL PROVISIONAL)
(CONT'D)
BEDDING
A | 600mm width x 460mm thick well compacted approved selected excavated/imported material to receive pipe (measure separately) | m | 294
B | 600mm width x 1000mm min cover compacted excavated material backfill | m | 294
FITTING AND SPECIALS
Approved D.I. as described (unless otherwise stated) specials, valves, bends, tees, etc.with planged or plain ends with including bolts, nuts, couplings, rubber rings, adaptors, reducers, gibault joints and including protective wrapping as described :-
C | Extra Over 150mm x 150mm x 150mm Diameter 'Tees' | No | 4
D | Ditto, 150mm diameter 45 degree bends | No | 3
E | Ditto, 150mm diameter less than 30 degree bends | No | 2
F | S-Bend | No | 2
G | Scour valve | No | 3
J | Air valve with isolating valve complete with off-take tee | No | 2
THRUST BLOCKS
Mass concrete Grade 25 as described thrust blocks and restraint to receive bends, tees and elbows including all necessary excavation, formwork, backfilling with compaction and disposal of surplus material away from site according to Engineer's drawing for :-
K | to receive 'Tees' | No | 4
L | to receive '45 degree bend' | No | 3
M | to receive 'less 30 degree bend' | No | 2
N | to receive 'scour valve' | No | 3
P | to receive 'S-bend' | No | 2
CARRIED TO COLLECTION
WATER RETICULATION WORKS (ALL PROVISIONAL)
(CONT'D)
VALVE CHAMBER
Construction and completion of precast concrete valve chamber constructed of 950mm x 850mm x 200mm thick panel, concrete base Grade 20 and complete with steel cover (refer to Syabas's Standard Detail) and including all necessary excavation, backfill, lean concrete, formwork, metal work, and accessories all as per drawings and specifications, make good all works disturbed to :-
A | Scour Valve | No | 3
B | Air Valve | No | 2
MARKING POST
Standard reinforced concrete as described marker posts size 125mm x 125mm x 825mm with letter and symbols countersunk including picking out symbols in paint and painting all exposed surfaced including all necessary excavation, mass concrete base and removal and disposal of excavated materials all as per Engineer's drawing
C | Water Main | No | 7
D | Scour Valve | No | 3
E | Air Valve | No | 2
FIRE HYDRANT
F | 100mm Diameter approved cast iron double outlet pillar hydrant to SYABAS's approval complete with double flanged adaptor, flanged barrel with flanged branch mild steel tee, double flange short piece and complete with extension piece, outlet caps, fastening mild steel chains and painting with coat of gloss paint and a strip of all round and the top portion with bituminous paint, concrete base and all as per Engineer's Drawing | No | 4
G | Extra Over for 100mm Diameter x 90 degree approved cast iron (double flanged) duckfoot bend with and including all necessary excavation, backfilling, thrust block and removal of surplus material away from site | No | 4
CARRIED TO COLLECTION
WATER RETICULATION WORKS (ALL PROVISIONAL)
(CONT'D)
PIPE CONNECTION TO BUILDING
A | Supply, place, install and connect Stainless Steel to SYABAS approval pipes to but exclude water meter point as detailed in the Drawing which include lockable and ball valve including all necessary accessories, drilling, tapping, excavation, backfilling with imported sand, through any brick or concrete wall and reinstatement of metalled road or turfing for the housing scheme fronting to water pipes completed. | No | 23
B | Extra Over for supply and lay 32mm Diameter Stainless Steel pipes at road crossing | m | 69
SAMPLING POINT
C | Allow sampling point as requested by Local Authorities | Item | - | -
STERILLZATION
D | Sterilize as described including cost of water and chlorine solution to the approval of the Architect's and the Authorities for all pipes and fittings | Item | - | -
HOT TAPPING
E | Allow for hot tapping to existing pipes (sites) to the proposed (rates should include excavation, valve, chamber, connection fees, etc) to the Syabas requirement | Item | - | -
TESTING
F | On completion of the water reticulation system test and commission as described all pipes and fittings and make good all defects, re-test and leave whole in perfect working order to the satisfaction of the S.O./Engineer and the Authorities | Item | - | -
CARRIED TO COLLECTION
Collection :
From Page B2.5 / WR / 1
From Page B2.5 / WR / 2
From Page B2.5 / WR / 3
From Page B2.5 / WR / 4
TOTAL CARRIED TO SUMMARY OF INFRA WORKS